| Hazard or Risk | Yes/No | Immediate Action taken | Hazard or Risk dealt with Yes/No | Further Action required and reported to. |
| --- | --- | --- | --- | --- |
| Are all fire escape routes clear? |  |  |  |  |
| Are there any combustible items kept or left in the corridor, e.g. chairs and tables? |  |  |  |  |
| Are any metal cabinets in the corridor always kept shut? |  |  |  |  |
| Are all fire exit doors kept unlocked so people can easily evacuate in an emergency? |  |  |  |  |
| Hazard or Risk | Yes/No | Immediate Action taken | Hazard or Risk dealt with Yes/No | Further Action required and reported to. |
| Are all fire exits clearly marked and lit up? |  |  |  |  |
| Is all emergency lighting working? |  |  |  |  |
| Is all emergency lighting clean and in a good condition? |  |  |  |  |
| Are all fire extinguishers in their correct place? |  |  |  |  |
| Do all fire extinguishers have their operating instructions on them/ by them making it clearly visible to anyone in an emergency? |  |  |  |  |
| Have all fire extinguishers been inspected? |  |  |  |  |
| Can fire-fighting equipment be easily accessed? |  |  |  |  |
| Can fire alarms be heard clearly in every corridor, bedroom, kitchen, store room and office? |  |  |  |  |
| Hazard or Risk | Yes/No | Immediate Action taken | Hazard or Risk dealt with Yes/No | Further Action required and reported to. |
| Is the fire exit route clearly marked for all guests and staff to see? |  |  |  |  |
| Do the arrows on fire evacuation signs point in the correct direction? |  |  |  |  |
| Have all signs been replaced following any building or decorating works? |  |  |  |  |
| Is all fire safety signage in good condition and in the correct place? |  |  |  |  |
| Are all fire doors closed? |  |  |  |  |
| Are the evacuation procedures displayed prominently and does each guest bedroom contain fire evacuation instructions? |  |  |  |  |
| Are all corridors clear of rubbish and obstructions? |  |  |  |  |
| Are rubbish bins and paper bins emptied regularly? |  |  |  |  |
| Hazard or Risk | Yes/No | Immediate Action taken | Hazard or Risk dealt with Yes/No | Further Action required and reported to. |
| Are all walkways kept clear and without trip hazards? |  |  |  |  |
| Are any of the sockets overloaded? |  |  |  |  |
| Is all electrical equipment e.g. tills, computers, lights, etc in full working order? |  |  |  |  |
| Is all wiring and cabling safe? |  |  |  |  |
| Are all lights in a stable positions and unable to be knocked over? |  |  |  |  |
| Are all items of electrical equipment not in use unplugged? |  |  |  |  |